IOP-OSPMC-190328001

Multi Crystalline Solar Modules

190W / 32.49V / 8.00A

| Specification |  |
| --- | --- |
| Maximum Power Rating (W) ± 3% | 190W |
| Open Circuit Voltage (Voc) | 32.49V |
| Short Circuit Current (Isc) | 8.00A |
| Maximum Power Voltage (Vmp) | 25.57V |
| Maximum Power Current (Imp) | 7.42A |
| Module Efficiency (%) | 12.84% |
| Maximum System Voltage | 1000VDC |
| Output Terminal | Cable with Tyco Connectors |
| Weight | 17.5Kgs / 38.58lbs |
| Dimensions (L x W x H) | 1496 x 989 x 39 mm (58.90” x 38.94” x 1.54”) |
| Number of Cells | 54 in a 6 x 9 matrix connected in series |
| Solar Cell Type | Multi Crystalline Silicon |
| Solar Cell Size | 6” / 156 x 156 mm |
| Temperature Coeff. of Voc | -0.34 %/K |
| Temperature Coeff. of Isc | 0.06 %/K |
| Temperature Coeff. of Pmax | -0.40 %/K |

STC: irradiance level 1000W/m2, spectrum AM 1.5 and Cell temperature 25℃