IOP-OSPMC-225368201

Multi Crystalline Solar Modules

225W / 36.66V / 8.21A

| Specification |  |
| --- | --- |
| Maximum Power Rating (W) ± 3% | 225W |
| Open Circuit Voltage (Voc) | 36.66V |
| Short Circuit Current (Isc) | 8.21A |
| Maximum Power Voltage (Vmp) | 29.44V |
| Maximum Power Current (Imp) | 7.63A |
| Module Efficiency (%) | 13.75% |
| Maximum System Voltage | 1000VDC |
| Output Terminal | Cable with Tyco Connectors |
| Weight | 18.8Kgs / 41.45lbs |
| Dimensions (L x W x H) | 1655 x 989 x 39 mm (65.50” x 38.94” x 1.54”) |
| Number of Cells | 60 in a 6 x 10 matrix connected in series |
| Solar Cell Type | Multi Crystalline Silicon |
| Solar Cell Size | 6” / 156 x 156 mm |
| Temperature Coeff. of Voc | -0.34 %/K |
| Temperature Coeff. of Isc | 0.06 %/K |
| Temperature Coeff. of Pmax | -0.40 %/K |

STC: irradiance level 1000W/m2, spectrum AM 1.5 and Cell temperature 25℃